| Public Works Department Safety Checklist Minimum Frequency Quarterly |
| --- |
| Municipality | Inspection Date: / /201 |
| Name of Inspector: | Title: |
| Location Surveyed: |
| # | Needs work | OK | N/A | Item Write line # & comments on back for each needs work item |
| Signs and illuminated fixtures (Source NFPA 101) |
|  |  |  |  | Self-illuminated signs available by every ground level doorway? |
|  |  |  |  | Other signs direct persons towards exits? |
|  |  |  |  | Each fixture uniquely identified, for maintenance purposes? |
|  |  |  |  | All Signs illuminated continuously? |
|  |  |  |  | E-Lights tested minimum quarterly? Low voltage lamps illumine? |
|  |  |  |  | Inventory maintained for “Tritium” signs - 10 year replacement? |
|  |  |  |  | Doors to basement, utility closets, etc identified as “not an exit”? |
|  |  |  |  | At least 1 fixture provides outside illumination at exterior doors? |
| Machinery & Equipment |
|  |  |  |  | Compressor Oil Level Checked |
|  |  |  |  | Pressure Tanks Drained |
|  |  |  |  | Pressure Tank Relief Valve(s) Tested |
|  |  |  |  | Manned Vehicles Inspected |
|  |  |  |  | Portable Equipment Maintained |
| Evacuation Alarm Systems (Source NFPA) Municipality does not have this equipment Skip 14-19 |

|  |  |  |  | Manual activation, (pull boxes) provided at all ground level exits? |
| --- | --- | --- | --- | --- |
|  |  |  |  | Either strobe lights & audible horns or bells provided? |
|  |  |  |  | Low volume alarms placed in each rest room? |
|  |  |  |  | A Strobe unit is visible from all areas in assembly areas? |
|  |  |  |  | Alarm system is inspected by vendor annually? |
|  |  |  |  | Alarm sound is distinguishable above ambient noise level? |
| Protection systems |
|  |  |  |  | Fire extinguisher serviced annually & inspected monthly |
|  |  |  |  | Fire Suppression System - Inspected Annually by licensed vendor? |
|  |  |  |  | Fire Suppression System - Inspected Quarterly by licensed vendor? |
|  |  |  |  | Emergency lights operational & of sufficient number to serve the area |
|  |  |  |  | Flammable liquids stored in grounded FL cabinets, & doors closed |
|  |  |  |  | Housekeeping adequate through out facility |
|  |  |  |  | Emergency generator - tested under load monthly. Fuel sources have RTK Labeling |
|  |  |  |  | Cooking hazards protected; Proper ventilation & suppression system & inspected annually |