| Special Facilities Self-Inspection Safety Checklist – Concession Stands Suggested Minimum inspection frequency monthly during use season |
| --- |
| Municipality | Inspection Date: / /201 |
| Name of Inspector: | Title: |
| Location Surveyed: |

If own more than one, each is uniquely identified

| # | Needs work | OK | N/A | Item Write line # & comments on back for each needs work item |
| --- | --- | --- | --- | --- |

Concession Stands   Includes both personnel and food safety items

|  |  |  |  | Is the state construction symbol posted by the exterior door? |
| --- | --- | --- | --- | --- |
|  |  |  |  | Is the state sanitation permit posted? Current? |
|  |  |  |  | Is there any debris or trash lying about? (Poor housekeeping) |
|  |  |  |  | Is there evidence of regular pesticide services? Traps or certificate |
|  |  |  |  | Is there a fire extinguisher mounted near the door? (min 4A:20BC) |
|  |  |  |  | Is the extinguisher serviced annually by an outside vendor? |
|  |  |  |  | Is the extinguisher inspected monthly by a trained individual? |
|  |  |  |  | Does the cooking include use of a deep fat fryer? |
|  |  |  |  | Is there a fire suppression system? Mandated if yes above |
|  |  |  |  | Fire suppression system inspected annually? Date of last |
|  |  |  |  | If there is a vapor hood, are filters and hood kept clean? |
|  |  |  |  | All lighting fixtures covered? Mandated in food handling areas |
|  |  |  |  | Are all appliance outlets of the 3-wire grounded type? |
|  |  |  |  | Does the electrical panel have a legible directory? |
|  |  |  |  | Is there an Arc-Flash warning sticker on/in the electric panel? |
|  |  |  |  | Receptacles within 6” of sinks are GFCI protected? |
|  |  |  |  | Are any CO2 soda gas cylinders secured? |
|  |  |  |  | Is there a closure on the people door, to minimize insect intrusion? |
|  |  |  |  | Are the aisles to the exit door maintained open? |
|  |  |  |  | Is there a hand wash sink with running water available? |
|  |  |  |  | Is there a supply of hand soap and clean towels available? |
|  |  |  |  | Is a “No smoking” signs posted in the building? |
|  |  |  |  | Is a first aid kit provided? Contents Inspected Annually? |
|  |  |  |  | Are the pads and walkways around the building free of cracks? |
|  |  |  |  | Is all food stored off the floor? |
|  |  |  |  | Are food thermometers provided and used appropriately? |
|  |  |  |  | Are adequate covered waste containers provided? |
|  |  |  |  | All personnel wear hair restraint : a hat, bandanna or hairnet? |
|  |  |  |  | Are foods kept covered to protect them from insects? |
|  |  |  |  | Are foods that require refrigeration cooled to below 41o F? |